|  |  |  |
| --- | --- | --- |
|  |  | logo |
| LEIBNIZ INSTITUT FÜR ASTROPHYSIK POTSDAM | LEIBNIZ-INSTITUT FÜR SONNENPHYSIK (KIS) | MAX PLANCK INSTITUT FÜR SONNENSYSTEM-FORSCHUNG |

|  |
| --- |
| **GREGOR:** **Derotator: New DCP Commands** |

|  |  |
| --- | --- |
| **Document No.:** | **GRE-KIS-MAN-0011** |
| **Version:** | **<2>**  |
| **Date:** | **2020-06-30** |

|  |
| --- |
| Signatures & Approval |
|  |  | Name | Signature | Date |
| Prepared by |  | Olivier Grassin - KISSoftware Engineer  |   | 2019-08-01 |
| Reviewed by |  | Lucia Kleint - KISGREGOR Lead Scientist |  | 14.8.2019 |
| Approved by |  |  |  |  |
| Released by |  |  |  |  |

|  |
| --- |
| Change Log |
| Vers. | Date | Author | Description of Changes | Sect./Para. |
| 1.0 | 2019-08-01 | O.G. | New Document |  |
| 2 | 2020-06-30 | O.G | Correction after software update in offsets enhancements  | 1, 4.2, marked in blue |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |

**Table of Contents**

1 General information 3

2 Acknowledgment & end-of execution answers 4

3 DCP (former and valid) commands list 5

3.1 DCP (former and valid) “GET” commands 6

3.2 DCP (former and valid) “SET” commands 8

4 DCP new commands list 9

4.1 DCP new “GET” commands 10

4.2 DCP new “SET” commands 15

# General information

New DCP commands have been added to the Derotator User Interface for the purpose of remote control from a DCP client. Remember here, the Derotator client name is “DER”.

The interface software can also manage DCP commands from multiple clients, at the same time.
In case of commands that generate a movement action of the motorization (DCP “In progress…”), taking time to fulfill a function, the sender client is memorized and will get the answer at the end of execution. Meanwhile, other clients can perform “Set Nop”, “GET” commands or even a “Stop” command; in the last case, both clients will receive the end of execution message, going back to the DCP “No active command” state.

This new version (of DCP commands) is compatible with the previous version, called “Beta2”.

It also automatically incorporates the “Set Time (relative)” option and the user does not need to check the box before the “Track” action anymore.

The front panel has been redesigned with new controls and indicators.

All commands and parameters are not case sensitive, but the DCP client name “DER” is always in uppercase. Ex: “DER get earthoffset” or “DER Get EarthOffset”

All angles are expressed in degrees.

The “Lin” or “Linear” parameter is valid for all Linear axis commands.

When the answer has various parameters, they are separated by a [space] character.

The 3 new commands “Set EarthOffset”, “Set SolarOffset”, “Set OffsetSelector” will produce the definition/calculation of the “Position Offset” sent to the Derotator Main axis.

The “OffsetSelector” radio button or “Set OffsetSelector” DCP command defines the angle to use.

For Earth offset: $Pos Offset = EarthOffset$

For Solar offset:

$$Pos Offset\_{(indicator)}= 50.1-\frac{SolarOffset}{2} Pos Offset\_{(Derotator)}= 50.1-\frac{SolarOffset}{2}-\left[\frac{P0^{(\*)}}{2}\right]$$

“50.1” is a local offset angle stored in a configuration file, which was determined such that the GRIS slit is oriented north-south. The users are not allowed to modify this value. The “Config” indicator status in green at the top of the GUI indicates the successful file reading.

P0 is the solar position angle between the geocentric North Pole and the solar rotational North Pole measured eastward from geocentric North; it is calculated internally from the Derotator ephemeris module. (\*) The P0 correction is applied to the tracking trajectory and is now directly included in the “Position Offset” indicator value. When using the solar offset for tracking, the P0 angle, even with its very small diurnal variation, is calculated and integrated into the offset angle, every 8 minutes (shown with a count-down progress bar).

The offset increment/decrement buttons will only affect the currently selected angle.

#

# Acknowledgment & end-of execution answers

The Derotator interface respects the DCP protocol:

- Unknown command gives back a “2 ACK” single answer.

- Command parameter error gives back a “3 ACK” single answer.
- Command not allowed in this mode gives back a “5 ACK” single answer.
- State level error command returns a “0 ACK” for acknowledgment and a “1 FIN” for error or “3 FIN” answer for aborted, or in its case a “1 [parameter(s)]” or “3 [parameter(s)]” answer; a warning is represented with “-1 [parameter(s)]”.
- In other cases the normal answer message is “0 ACK”, then “0 FIN” or “0 [parameter(s)]” at the end of execution.

The time execution referring to “Get”, “Set Nop” and “Get {data}” commands is generally <100 ms, but it also depends of the instrumental network load. Other “Set” commands that require axis movement/management may generate longer time of execution, depending on the case.

# DCP (former and valid) commands list

* + Get Status
	+ Get Status2
	+ Get Pos
	+ Get Pos2
	+ Get PosOffset
	+ Set Nop

## DCP (former and valid) “GET” commands

**command parameter format**

**Get Status**  none none

**answer [**n] numeric char.

**Description:** Gives the Derotator general state by generic answer.

 “0 FIN”=OperationalAxis

 “0 [n]” where n: -1=NotOperationalPosition; 1=AxisError;

**Error:** “3 FIN”=noTCPconnectionSCU.

**Scope:** All.

**command parameter format**

**Get Status2**  none none

**answer [**n] numeric char.

**Description:** Gives the Derotator Main axis state by generic answer.

 “0 [n]” where n:

 -1=NotOperationalPosition; 2=TrackingStopped; 3=TrackingTransient; 4=TrackingLocked.

**Error:** “3 FIN”=noTCPconnectionSCU.

 **Scope:** All.

**command parameter format**

**Get Pos**  none none

**answer [**angle] fractional string

**Description:** Gives back the Derotator Main axis position angle.

**Error:** “5 ACK”=notReferenced / hwStateLinAxisOperatePosition.

 “3 FIN”=noTCPconnectionSCU.

**Scope:** All.

**command parameter format**

**Get Pos2**  none none

**answer [**angle] [status] fractional string/numeric char.

**Description:** Gives back the Derotator Main axis position.

 “0 [angle] [status]” where status:

 -1=NotOperationalPosition; 2=TrackingStopped; 3=TrackingTransient; 4=TrackingLocked.

**Error:** “5 ACK”=notReferenced.

 “3 FIN”=noTCPconnectionSCU.

**Scope:** All.

**command parameter format**

**Get PosOffset**  none none

**answer [**angle] fractional string

**Description:** Gives back the Derotator Main axis position offset angle.

 “0 [angle]” Locked and InPosition.

 “-1 [angle]” NotLocked or NotInPosition.

**Error:** “3 FIN”=noTCPconnectionSCU.

**Scope:** All.

## DCP (former and valid) “SET” commands

**command parameter format**

**Set Nop**  none none

**answer** FIN text

**Description:** No operation is done, but it gives back a “0 FIN” answer to the sender client, confirming that the interface is active on the server/network. A small time-out is preferred because answer is immediate.

**Scope:** All.

# DCP new commands list

* + Get EarthOffset
	+ Get SolarOffset
	+ Get OffsetSelector
	+ Get TrackMode
	+ Get StateAxis
	+ Get StateLinAxis
	+ Get StateMainAxis
	+ Get StateLimitSW
	+ Get Status1
	+ Get Status3
	+ Get Pos1
	+ Get Pos3
	+ Set EarthOffset
	+ Set SolarOffset
	+ Set OffsetSelector
	+ Set TrackMode
	+ Set ClearDCP
	+ Set Stop (Lin/Main/All)
	+ Set Activate (Lin/Main)
	+ Set Deactivate (Lin/Main)
	+ Set Insert
	+ Set Park (Lin/Main)
	+ Set Track
	+ Set Pos

## DCP new “GET” commands

**command parameter format**

**Get EarthOffset** none none

**answer [**angle] Fractional string

**Description:** Retrieves the earth offset angle stored in the control box.

 It is used to compute the Derotator angle when the respective option is selected. (Former Derotator offset angle).

**Scope:** All.

**command parameter format**

**Get SolarOffset** none none

**answer [**angle] Fractional string

**Description:** Retrieves the solar offset angle stored in the control box.

 It is used to compute the Derotator angle when respective option is selected.

**Scope:** All.

**command parameter format**

**Get OffsetSelector** none none

**answer** earth/solar text

**Description:** Retrieves the selected offset selector option.

**Scope:** All.

**command parameter format**

**Get TrackMode**  none none

**answer** 0/1 numeric char. as binary

**Description:** Retrieves the “Rel” option box state. It determines how the Derotator angle is computed.

 Relevant when “Track” operation is executed.

**Scope:** All.

**command parameter format**

**Get StateAxes**  none none

**answer [**status] [tracking] [velocity] numeric string

**Description:** Retrieves the axes states. 3 numeric values.

 1st value - From LSB to MSB :

 1) TPCconnectionSCU / 2) NoErrorLinAxis / 3) NoErrorMainAxis / 4)BothAxesOperational

 2nd value – Track status (2=Stopped / 3=Transient / 4=Locked)

 3rd value – Linear axis velocity

**Scope:** All.

**command parameter format**

**Get StateLinAxis** none none

**answer** [s cs hw er p v mc bv] numeric string

**Description:** Retrieves the Linear axis states. 8 numeric values, respectively:

 axisStateLinAxis, axisCtrlStateLinAxis, hwStateLinAxis, errorsLinAxis,

 actPosLinAxis, actVeloLinAxis, motCurrentLinAxis, bridgeVoltageLinAxis.

**Scope:** All.

**command parameter format**

**Get StateMainAxis** none none

**answer** [s cs hw er p v mc bv po cd mt] numeric string

**Description:** Retrieves the Linear axis states. 11 numeric values, respectively:

 axisStateMainAxis, axisCtrlStateMainAxis, hwStateMainAxis,

 errorsMainAxis, actPosMainAxis, actVeloMainAxis, motCurrentMainAxis,

 bridgeVoltageMainAxis, positionOffset, controlDeviation,

 motorTempMainAxis.

**Scope:** All

**command parameter format**

**Get StateLimitSW** none none

**answer** [SWm] [SWl] numeric string

**Description:** Retrieves the limit switches states of both axes. 2 numeric values, respectively:

 1st value – Main axis limit switch state (0=Park/1=SafeOp/2=NoLimit)

 2nd value – Linear axis limit switch state (from 0 to 7):

 (HWdown/SWdown/HWup/SWup/ParkPos/OpPos/SafeOp/NoLimit)

**Scope:** All

**command parameter format**

**Get Status1**  none none

**answer** [n] text/numeric char.

**Description:** Gives the Derotator Main axis state by generic answer.

 “0 FIN” = operational axis.

 “0 [n]” where n: 0=ErrDisable; 1=Disable; 2=SafeOp; 3=Op

 **Scope:** All. No test of the Linear axis is done to avoid its possible errors.

**Command parameter format**

**Get Status3**  none none

**answer** [tracking] numeric char.

**Description:** Gives the Derotator Main axis state by generic answer.

 “0 [tracking]” where tracking: (2=Stopped / 3=Transient / 4=Locked)

**Error:** “1 [tracking]” -> On error, tracking = Debug binary value. From LSB to MSB :

 1) noTPCconnectionSCU / 2)StateLinAxisNoData&Error /

 3) StateMainAxisNoData&Error / 4) CtrlStateBothAxesOperational

 “3 FIN”=noTCPconnectionSCU.

**Scope:** All.

**command parameter format**

**Get Pos1**  none none

**answer** [position] Fractional string

**Description:** Retrieves the position angle of the Derotator Main axis.

**Error:** “5 ACK”=notReferenced.

 “3 FIN”=noTCPconnectionSCU.

**Scope:** All. No test of the Linear axis is done to avoid its possible errors.

**command parameter format**

**Get Pos3**  none none

**answer** [position] [tracking] fractional string / numeric char.

**Description:** Retrieves the position angle of the Derotator Main axis and tracking state.

 “0 [position] [tracking]” where tracking: (2=Stopped / 3=Transient / 4=Locked)

**Error:** “5 ACK”=notReferenced. “3 FIN”=noTCPconnectionSCU.

**Scope:** All. No test of the Linear axis is done to avoid its possible errors.

**command parameter format**

**Get PosOffset1**  none none

**answer** [angle] Fractional string

**Description:** Retrieves the position offset angle of the Derotator Main axis.

 “0 [offset angle]” in tracking.

**Error:** “-1 [offset angle]”=notTracking.

 “3 FIN”=noTCPconnectionSCU.

**Scope:** All. No test of the Linear axis is done to avoid its possible errors.

## DCP new “SET” commands

**command parameter format**

**Set EarthOffset** [angle] fractional string

**answer** FIN text

**Description:** Writes the earth offset angle stored into the control box.

 It is used to compute the Derotator angle when the respective option is selected. (Former Derotator offset angle).

 Offset is taken in account immediately if the Derotator is tracking.

**Error:** “3 ACK”=ParameterError.

**Scope:** All, but one at a time.

**command parameter format**

**Set SolarOffset** [angle] fractional string

**answer** FIN text

**Description:** Writes the solar offset stored into the control box.

 It is used to compute the Derotator angle when respective option is selected. The offset is taken into account immediately if the Derotator is tracking.

**Error:** “3 ACK”=ParameterError.

**Scope:** All, but one at a time.

**command parameter format**

**Set OffsetSelector** none none

**answer** earth/solar text

**Description:** Set the selected offset selector option. It takes effect immediately if the Derotator is tracking.

**Error:** “3 ACK”=ParameterError.

**Scope:** All, but one at a time.

**command parameter format**

**Set TrackMode** none none

**answer** 0/1 numeric char. as binary

**Description:** Set the “Rel” option box state.

 It determines how the Derotator angle is computed. Relevant when “Track” operation is executed in the way to compute the first position/time series.

**Error:** “3 ACK”=ParameterError.

**Scope:** When “No active command” is set.

**command parameter format**

**Set ClearDCP**  none none

**answer** 0/1 numeric char. as binary

**Description:** Clear the DCP command state, setting to “No active command”.

 The binary answer indicates the state before the command.

 “0” for “No active command” and “1” for “In progress...”.

**Scope:** All.

**command parameter format**

**Set Stop**  Lin/Main/All text

**answer** FIN text

**Description:** Stops the selected axis/axes of the Derotator.

**Error:** No error is returned, also if the axis is already stopped or deactivated.

 “3 ACK”=ParameterError. “5 ACK”=noTCPcommunicationSCU.

**Scope:** All.

**command parameter format**

**Set Activate**  Main/Lin text

**answer** none/[b] none/numeric char.

**Description:** Activates the respective Derotator axis. Motor is powered.

**Error:**  Main: Answers “1 [b]”. Parameter bits represent respectively the:

 TCPcommunicationSCU, LinAxisOpPosition, MainAxisStandby.

Linear: Answers “1 [b]”. Parameter bits represent respectively the:

 TCPcommunicationSCU, LinAxisStandby.

 Bad parameter / Wrong mode.

 No action is performed.

**Scope:** Main: Takes effect when the Main axis is in Standby state and Linear axis is in Operation Position.

 Linear: Takes effect when the Linear axis is in Standby state.

**command parameter format**

**Set Deactivate**  Main/Lin text

**answer** FIN/[b] text/numeric char.

**Description:** Deactivates the respective Derotator axis. Motor is off.

**Error:**  Main: Answers “1 [b]”. Parameter bits represent respectively the:

 TCPcommunicationSCU, MainAxisState.

Linear: Answers “1 [b]”. Parameter bits represent respectively the:

 TCPcommunicationSCU, LinAxisState.

 Bad parameter / Wrong mode.

 No action is performed.

**Scope:** Main and Linear axes: Takes effect in all states.

**command parameter format**

**Set Insert**  none/Lin none/text

**answer** FIN/[b] text/numeric char.

**Description:** Inserts the Derotator moving the Linear axis to the operation position.

**Error:**  Answers “1 [b]”. Parameter bits represent respectively the: TCPcommunicationSCU, LinAxisActive.

Bad parameter / Wrong mode.

 No action is performed.

**Scope:** Takes effect when the Linear axis is active, regardless of the Main axis.

 One at a time.

**command parameter format**

**Set Park**  Main/Lin text

**answer** FIN/[b] text/numeric char.

**Description:** Moves the respective Derotator axis to their respective parked position.

 (Linear: SWdown / Main: ParkPos)

**Error:**  Answers “1 [b]”. Parameter bits represent respectively the:

 Main: TCPcommunicationSCU, LinAxisOpPosition, LinAxisActive.

Linear: TCPcommunicationSCU, MainAxisParked, LinAxisRefereced.

 Bad parameter / Wrong mode.

 No action is performed.

**Scope:** One at a time. Takes effect when:

 Main: The Linear axis is at the operation position and Main axis is active.

 Linear: The Linear axis is active and Main axis is at the “park” position.

 For the Main axis, this behavior differs from the GUI; the PARK command can be sent directly from tracking.

**command parameter format**

**Set Track**  none/Main none/text

**answer** FIN/[b] text/numeric char.

**Description:** Starts the tracking of the Derotator Main axis.

**Error:** Answers “1 [b]”. Parameter bits represent respectively the:

 TCPcommunicationSCU, LinAxisOpPosition, LinAxisReferenced.

 No action is performed.

 Bad parameter / Wrong mode.

**Scope:** Takes effect when the Linear axis is at the operation position and Main axis is at least referenced and active.

 One at a time.

**command parameter format**

**Set Pos**  [position] fractional string

**answer** [b] [position] numeric char. / fractional string

**Description:** Moves the Main axis to the defined angle position.

 Answers “0 [position]” where position is the reached destination.

**Error:** “1 [b] [position]”. (The last position).

 Parameter b bits represent respectively the:

 TCPcommunicationSCU, LinAxisOpPosition, MainAxisActiveTrackStopped.

 Bad parameter / Wrong mode.

 No action is performed.

**Scope:** Takes effect when the Linear axis is at the operation position and Main axis is in active mode (not tracking).